## Sheet1
City Of Vancouver
Street Lighting Approved Materials List
TYPE A AND TYPE AT ARTERIAL STREET LIGHTING STANDARD (T21-02)
| NUMBER OPTION | MATERIAL |  | MANUFACTURER | PART NO. | Drawings/Spec Sheets
FOUNDATION:
| 1) | (Steel) Pole Foundation: Up to 30' MH pole/w single arm |  | ECP (Earth Contact Products) | BTP-663-60-12S (1" dia. Bolts) |  | Standard base for Valmont Aluminum Poles City wide
| 2) | (Steel) Pole Foundation: Up to 30' MH pole/w single arm |  | ECP (Earth Contact Products) | BTP-663-60-16S (1" dia. Bolts)
| 3) | (Steel) Pole Foundation: poles up to 35' MH with single or double MA up to 12'. |  | ECP (Earth Contact Products) | BTP-663-84-16S (1" dia. Bolts)
| 4) | (Steel) Pole Foundations: For Valmont MESA Style poles P301,P302, P307, P313 |  | ECP (Earth Contact Products) | BTP-663-84-16S (1" dia. Bolts)
| 5) | (Steel) Pole Foundations: For Valmont MESA Style poles P303,P304, P308, P309, P310, P311, P312 |  | ECP (Earth Contact Products) | BTP-863-84-16S-LH (1.25" dia. Bolts)
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER | PART NO.
POLE:
| 1) | Bolt Down | Aluminum | Valmont (22' MH, 6' Lum Arm .188 wall thickness) | 1908-40-60-6-T-4-D1
| 2) | Bolt Down | Aluminum | Valmont (25' MH, 6' Lum Arm .188 wall thickness) | 2208-45-80-6-T-4-D1
| 3) | Bolt Down | Aluminum | Valmont (27' MH, 6' Lum Arm .188 wall thickness) | 2408-45-80-6-T-4-D1
| 4) | Bolt Down | Aluminum | Valmont (30' MH, 6' Lum Arm .188 wall thickness) | 2708-45-80-6-T-4-D1
| NUMBER OPTION | LENGTH | MATERIAL | MANUFACTURER | PART NO.
MAST ARM:
| 1) | 4 Foot | Aluminum | Valmont | 1MA0432B45
| 2) | 6 Foot | Aluminum | Valmont | 1MA0632B45
| 3) | 8 Foot | Aluminum | Valmont | 1MA0832B45
| 4) | 10 Foot | Aluminum | Valmont | 1MB1032B45
| 5) | 12 Foot | Aluminum | Valmont | 1MB1232B45
| NUMBER OPTION | MATERIAL | Install locatioin | MANUFACTURER | PART NO.
COBRA HEAD:
| 1) | LED Cobra Head | Neighborhoods | Leotek (19W) (100W HPS Equivalent) | GCJ0-15H-MV-WW-2R-GY-390-BBL-PCR7-WL |  | City of Vancouver Standard
| 2) | LED Cobra Head | Arterials/Collectors | Leotek (82W) (200W HPS Equivalent) | GCM2-30H-MV-WW-2R-GY-850-BBL-PCR7-WL |  | City of Vancouver Standard
| 3) | LED Cobra Head | Traffic Signal Safety Light | Leotek (149W) (400W HPS Equivalent) | GCL2-60G-MV-NW-2S-GY-750-BBL-PCR7-WL |  | City of Vancouver Standard
Cross walk Lighting
| 4) | LED Cobra Head | Scenario A - 3 lane signal | Leotek 68W | GCM2-30H-MV-WW-5-GY-700-PCR7-WL
| 5) | LED Cobra Head | Scenario B - 5 lane signal | Leotek 68W | GCM2-30H-MV-WW-5-GY-700-PCR7-WL
| 6) | LED Cobra Head | Scenario C - 7 lane signal | Leotek 149W | GCL2-60G-MV-NW-5-GY-750-PCR7-WL
| 7) | LED Cobra Head | Scenario D - 9 lane signal | Leotek 163W | GCL2-60G-MV-NW-5-GY-800-PCR7-WL
| 8) | LED Cobra Head | Scenario E - 2 lane midblock pedestrian crossing | Leotek 135W | GCM2-40H-MV-WW-2S-GY-1A-PCR7-WL
| 9) | LED Cobra Head | Scenario F - 3 lane midblock pedestrian crossing | Leotek 107W | GCM2-40H-MV-WW-3R-GY-850-PCR7-WL
| 10) | LED Cobra Head | Scenario G - 5 lane midblock pedestrian crossing | Leotek 135W | GCM2-40H-MV-WW-2R-GY-1A-PCR7-WL
| 1) | LED Cobra Head | Neighborhoods | Philips Lumec Road Focus G2 (20W) (100W HPS Equivalent) | RFS-25W16LED-3K-G2-R3M-UNV-DMG-FAWS-PHXL-RCD7-GY3 |  | City of Vancouver Approved
| 2) | LED Cobra Head | Arterials/Collectors | Philips Lumec Road Focus G2 (20W) (200W HPS Equivalent) | RFM-108W48LED-3K-G2-R3S-UNV-DMG-FAWS-PHXL-RCD7-GY3 |  | City of Vancouver Approved
| 3) | LED Cobra Head | Traffic Signal Safety Light | Philips Lumec Road Focus G2 (20W) (200W HPS Equivalent) | RFL-180W80LED-3K-G2-R3S-UNV-DMG-FAWS-PHXL-RCD7-GY3 |  | City of Vancouver Approved
Cross walk Lighting
| 4) | LED Cobra Head | Scenario A - 3 lane signal | Philips Lumec Road Focus G2 90W with FAWS on setting 2 | RFL-180W80LED-3K-G2-5-UNV-DMG-FAWS-PHXL-RCD7-GY3
| 5) | LED Cobra Head | Scenario B - 5 lane signal | Philips Lumec Road Focus G2 90W with FAWS on setting 2 | RFL-180W80LED-3K-G2-5-UNV-DMG-FAWS-PHXL-RCD7-GY3
| 6) | LED Cobra Head | Scenario C - 7 lane signal | Philips Lumec Road Focus G2 135W with FAWS on setting 5 | RFL-180W80LED-3K-G2-5-UNV-DMG-FAWS-PHXL-RCD7-GY3
| 7) | LED Cobra Head | Scenario D - 9 lane signal | Philips Lumec Road Focus G2 180W with FAWS on setting 10 | RFL-180W80LED-3K-G2-5-UNV-DMG-FAWS-PHXL-RCD7-GY3
| 8) | LED Cobra Head | Scenario E - 2 lane midblock pedestrian crossing | Philips Lumec Road Focus G2 215W with FAWS on setting 10 | RFL-215W96LED-3K-G2-R3S-UNV-DMG-FAWS-PHXL-RCD7-GY3
| 9) | LED Cobra Head | Scenario F - 3 lane midblock pedestrian crossing | Philips Lumec Road Focus G2 145W with FAWS on setting 4 | RFL-215W96LED-3K-G2-R3S-UNV-DMG-FAWS-PHXL-RCD7-GY3
| 10) | LED Cobra Head | Scenario G - 5 lane midblock pedestrian crossing | Philips Lumec Road Focus G2 161W with FAWS on setting 5 | RFL-215W96LED-3K-G2-R3S-UNV-DMG-FAWS-PHXL-RCD7-GY3
| 1) | LED Cobra Head | Neighborhoods | Acuity Brands AEL (American Electric Lighting) 100W HPS Equivalent | ATBMic-10BLEDE60-MVOLT-R2-3K-P7-AO-RFD290704 |  | City of Vancouver Approved
| 2) | LED Cobra Head | Arterials/Collectors | Acuity Brands AEL (American Electric Lighting) 200W HPS Equivalent | ATBO-30BLED10-MVOLT-R3-3K-P7-AO-RFD29079 |  | City of Vancouver Approved
| 3) | LED Cobra Head | Traffic Signal Safety Light | Acuity Brands AEL (American Electric Lighting) 400W HPS Equivalent | ATB2-60BLED85-MVOLT-R3-3K-P7-AO-RFD290714 |  | City of Vancouver Approved
Cross walk Lighting
| 4) | LED Cobra Head | Scenario A - 3 lane signal | Acuity Brands AEL 70W | ATB0-P203-MVOLT-R4-3K-P7-SH
| 5) | LED Cobra Head | Scenario B - 5 lane signal | Acuity Brands AEL 88W | ATB0-P204-MVOLT-R4-3K-P7-SH
| 6) | LED Cobra Head | Scenario C - 7 lane signal | Acuity Brands AEL 124W | ATB0-P304-MVOLT-R4-3K-P7-SH
| 7) | LED Cobra Head | Scenario D - 9 lane signal | Acuity Brands AEL 145W | ATB0-P305-MVOLT-R4-3K-P7-SH
| 8) | LED Cobra Head | Scenario E - 2 lane midblock pedestrian crossing | Acuity Brands AEL 125W | AB0-P452-MVOLT-R3-3K-PY-SH
| 9) | LED Cobra Head | Scenario F - 3 lane midblock pedestrian crossing | Acuity Brands AEL 124W | AB0-P304-MVOLT-R4-3K-PY-SH
| 10) | LED Cobra Head | Scenario G - 5 lane midblock pedestrian crossing | Acuity Brands AEL 145W | AB0-P305-MVOLT-R4-3K-PY-SH
| NUMBER OPTION | MATERIAL |  | MANUFACTURER/ DESCRIPTION | PART NO.
PHOTO CELL: | 1) | LED/HPS Fixtures |  | Ripley Lighting Controls, Long Life Photocontrol | 6390LL-BK
TYPE A AND TYPE AT RESIDENTIAL STREET LIGHTING STANDARD
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER | PART NO.
POLE:
| 1) | Direct Bury | Aluminum | Valmont (25' MH, 6' Lum Arm .188 wall thickness) | 2208-45-80-6-TEA
| 2) | Direct Bury | Aluminum | Valmont (30' MH, 6' Lum Arm .188 wall thickness) | 2708-45-80-6-TEA
| 3) | Direct Bury | Aluminum | Valmont (35' MH, 6' Lum Arm .188 wall thickness) | 3208-45-80-6-TEA
| NUMBER OPTION | LENGTH | MATERIAL | MANUFACTURER | PART NO.
MAST ARM:
| 1) | 4 Foot | Aluminum | Valmont | 1MA0432B45
| 2) | 6 Foot | Aluminum | Valmont | 1MA0632B45
| 3) | 8 Foot | Aluminum | Valmont | 1MA0832B45
| 4) | 10 Foot | Aluminum | Valmont | 1MB1032B45
| 5) | 12 Foot | Aluminum | Valmont | 1MB1232B45
| NUMBER OPTION | MATERIAL |  | MANUFACTURER | PART NO.
COBRA HEAD:
| 1) | Neighborhoods |  | Leotek (100W HPS Equivalent) | GCJ0-15H-MV-WW-2R-GY-390-BBL-PCR7-WL
| NUMBER OPTION | MATERIAL |  | MANUFACTURER | PART NO.
PHOTO CELL:
| 1) | LED/HPS Fixtures |  | Ripley Lighting Controls, Long Life Photocontrol | 6390LL-BK
TYPE D LIGHTING STANDARD (T21-04)
| NUMBER OPTION | MATERIAL |  | MANUFACTURER | PART NO.
FOUNDATION: | 1) | (Steel) Pole Foundation |  | ECP (Earth Contact Products) | BTP-663-60-16S (1" dia. Bolts)
| 2) | (Steel) Pole Foundation |  | ECP (Earth Contact Products) | BTP-663-84-16S (1" dia. Bolts)
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER (Location) | PART NO. | Number of Fixtures | Mast arm Manufacturer/part Number | Drawings/Spec Sheets
POLE: | Downtown/West of Interstate 5 Pole Standards
| 1) | Bolt Down | Aluminum | Valmont (City Hall Pole 3"X10" Long Tenon) | (20' pole) 200042706V4A | 2
| 2) | Bolt Down | Aluminum | Valmont (4"X16 3/8" Long Tenon to be used with Visco C2 Dual Fixture Arm) | (16' pole)160042706V4A w/4”OD X16 3/8” long tenon, RAL7013 | 2 | Visco C2 Twin Arm Assembly
| 3) | Bolt Down | Aluminum | Valmont ( 3 1/2" X13" long tenon to be used with King KA91 Regency Twin Arm) | (16' pole)160042706V4A w/3 1/2”OD X13” long tenon, RAL7013 | 2 | KING KA91 Regency Twin Arm
| 4) | Bolt Down | Aluminum | Valmont (4"X16 3/8" Long Tenon to be used with Visco C2 Dual Fixture Arm) | (18' pole)180042706V4A w/4"OD X 16 3/8" Long Tenon, RAL7013 | 2 | Visco C2 Twin Arm Assembly
| 5) | Bolt Down | Aluminum | Valmont ( 3 1/2" X13" long tenon to be used with King KA91 Regency Twin Arm) | (18' pole)180042706V4A w/3 1/2"OD X 13" Long Tenon, RAL7013 | 2 | KING KA91 Regency Twin Arm
| 4) | Bolt Down | Aluminum | Valmont (4"X16 3/8" Long Tenon to be used with Visco C2 Dual Fixture Arm) | (20' pole)200042706V4A w/4”OD X16 3/8” long tenon, RAL7013 | 2 | Visco C2 Twin Arm Assembly
| 5) | Bolt Down | Aluminum | Valmont ( 3 1/2" X13" long tenon to be used with King KA91 Regency Twin Arm) | (20' pole)200042706V4A w/3 1/2”OD X13” long tenon, RAL7013 | 2 | KING KA91 Regency Twin Arm
| 8) | Bolt Down | Aluminum | South Coast Lighting/Design (3.5" X 3.5" Tenon) | (20' pole) BCOXF2535/75A70RTF | 1
| NUMBER OPTION | MATERIAL |  | MANUFACTURER | PART NO. | Drawings/Spec Sheets
PHOTO CELL:
| 1) | LED/HPS Fixtures |  | Ripley Lighting Controls, Long Life Photocontrol | 6390LL-BK
ACORN: | NUMBER OPTION | MATERIAL |  | MANUFACTURER | PART NO. | Drawings/Spec Sheets
| 1) | Acorn Fixture |  | KING | K118R-B3AR-IV-60(SSL)-1036-120:277V-K14-PR7-GR-3K (C/W GENERAL ELECTRIC RING, 31 VENTED FINIAL, 7PRONG TWISTLOCK RECEPTACLE)
| 2) | Acorn Fixture (Traffic Signals Safety Lighting Only) |  | KING | K118R-B3AR-IV-100(SSL)-1036-120:277V-K14-PR7-GR-3K (C/W GENERAL ELECTRIC RING, 31 VENTED FINIAL, 7PRONG TWISTLOCK RECEPTACLE)
| Midblock A | Acorn fixture (midblock crossing - see design notes for which A or B category to use; some of these are single and others are dual fixture mounts) |  | Holphane | WFCL2-P50-30K-XXXXX-FC3
|  |  |  | King | K137-P4NG-III-100(SSL)-7030
| Midblock B |  |  | Spring City | AGS-LE120-2F2-30-CR3-YPLF
Twin mast arm |  | Aluminum Mast Arm |  | King | KA91
Twin mast arm |  | Aluminum Mast Arm |  | Visco | Visco C2
Waterfront and Height District Acorn Lightng
| 1) | Waterfront and Heights District (match existing /surrounding) |  | Acuity Brands (Fixture) | MSPL-077-4K-AS-S-B-4-GWDF13-200-BK
| 2) | Waterfront and Heights District (match existing /surrounding) |  | Acuity Brands (Pole) | DS210650A200P9FPFBCFST-CH17AC-RFD179541
| 3) | Waterfront and Heights District (match existing /surrounding) |  | Acuity Brands (Mast Arm/Leveling Fitter) | OUC45/1CABKH (Mast Arm)
GWDF13200BK (Leveling Fitter)
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER (Location) | PART NO. | Number of Fixtures | Mast arm Manufacturer/part Number
POLE: | East of Interstate 5 Pole Standards
| 1) | Bolt Down | Aluminum | Hadco (Mill Plain) | (Hadco P-2065-16-A (cast aluminum pole, gloss black finish) | 1
| 2) | Bolt Down | Aluminum | Hadco (Mill Plain) | Hadco (SP7712-16H 5" straight round fluted aluminum pole 16', 3" tenon, gloss black) | 1
| 3) | Bolt Down | Aluminum | Hadco (Mill Plain 1) | (Hadco P-2061-16-G (cast aluminum pole, green verde finish) | 2 | Hadco Mast Arm (PTH2220-P3-G)
| 4) | Direct Buried | Aluminum | Valmont (Neighborhoods) | (16' pole) Valmont 160042706 DE/w 3"od X3" tenon (two piece decorative skirt WA18AC FP/DBL) | 1
| 5) | Bolt Down | Aluminum | Holophane (Columbia Palisdes) | WD-A-16-F5J-17(TMP-85)-P07-AGB-BK
| NUMBER OPTION | Location (Match Existing/Surrounding) |  | MANUFACTURER | PART NO. | Drawings/Spec Sheets
ACORNS:
|  | Major Roadway, Collectors/Arterials |  | Hadco (LED) 200W HPS Replacement | RL54-B-A-E-A-1-A-S-R-N-W-A-5-S-N-N-N-SP1
|  | Neighborhoods |  | Hadco (LED) 100W HPS Replacement | RL54-B-A-E-A-1-A-S-R-N-W-A-3-S-N-N-N-SP1
| 5) | Major Roadway, Collectors/Arterials (Mill Plain 1) |  | Hadco | "Verde” (R54-B-B-B-N-1-G-G-R-G-100S-E)
| 6) | Neighborhoods |  | Holophane (LED) | AWDE3-P30-30K-MVOLT-MS-BK-AL3-MB-ST-TGL-AO-PR7-GVDHSS12-SPCL BAND-RFD237605
| 7) | Major Roadway, Collectors/Arterials |  | Holophane (LED) | AWDE3-P30-30K-MVOLT-MS-BK-AL3-MB-ST-TGL-AO-PR7-GVDHSS12-SPCL BAND-RFD237605
Waterfront and Height District Acorn Lightng
| 1) | Waterfront and Heights District (match existing /surrounding) |  | Acuity Brands (Fixture) | MSPL-077-4K-AS-S-B-4-GWDF13-200-BK
| 2) | Waterfront and Heights District (match existing /surrounding) |  | Acuity Brands (Pole) | DS210650A200P9FPFBCFST-CH17AC-RFD179541
| 3) | Waterfront and Heights District (match existing /surrounding) |  | Acuity Brands (Mast Arm/Leveling Fitter) | OUC45/1CABKH (Mast Arm)
GWDF13200BK (Leveling Fitter)
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER (Location) | PART NO. | Number of Fixtures | Mast arm Manufacturer/part Number
PHOTO CELL:
| 1) | LED/HPS Fixtures |  | Ripley Lighting Controls, Long Life Photocontrol | 6390LL-BK
TYPE P AND TYPE R LIGHTING STANDARD (T21-07)
| NUMBER OPTION | MATERIAL |  | MANUFACTURER | PART NO.
FOUNDATION: | 1) | (Steel) Pole Foundation |  | ECP (Earth Contact Products) | BTP-663-60-16S (1" dia. Bolts)
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER/ DESCRIPTION | PART NO.
POLE: | 1) | Bolt Down | Aluminum | Valmont (14' POLE) | R-130830506T4-PD-DBL-335 (3.00 OD X 3.00 TENON)
| 2) | Bolt Down | Aluminum | Valmont (14' POLE) | R-130830506T4-P9-DBL-335 (4.00 OD X 3.00 TENON)
| 3) | Bolt Down | Aluminum | Valmont (14' POLE) | R-130830506T4-PD-HG (3.00 OD x 3.00 TENON)
| 4) | Bolt Down | Aluminum | Valmont (14' POLE) | R-130830506T4-P9-HG (4.00 OD X 3.00 TENON)
| 5) | Bolt Down | Aluminum | Valmont (16' POLE) | R-150840606T4-PD-DBL-335 (3.00 OD X 3.00 TENON)
| 6) | Bolt Down | Aluminum | Valmont (16' POLE) | R-150840606T4-P9-DBL-335 (4.00 OD X 3.00 TENON)
| 7) | Bolt Down | Aluminum | Valmont (16' POLE) | R-150840606T4-PD-HG (3.00 OD X 3.00 TENON)
| 8) | Bolt Down | Aluminum | Valmont (16' POLE) | R-150840606T4-P9-HG (4.00 OD X 3.00 TENON)
| 9) |  | Aluminum | Valmont custom decorative skirt | A21590
| NUMBER OPTION |  | MATERIAL | MANUFACTURER/ DESCRIPTION | PART NO.
FIXTURE: | 1) | Post Top | Aluminum | LUMEC | DOMEE2-1A-BKTX-LMSS13298
| 2) | Post Top | Aluminum | KING | K213-EAP-III-1009MOG0-HPS-120-PL-LEC-DC
TYPE N LIGHTING STANDARD (T21-08)
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER/ DESCRIPTION | PART NO.
POLE:
| 1) | Direct Bury | Aluminum | Valmont | 1508-30-50-4-T-E-P9(3"DIA. X 3"OD)SBF-Anti Rotation
LIGHTING FIXTURE: | Match Existing Neighborhood Area
| NUMBER OPTION | MATERIAL |  | MANUFACTURER/ DESCRIPTION | PART NO. | Drawings/spec sheets
Post Top | 1) | Aluminum |  | Eaton (Woodbridge LED Post Top) | MPW-AF-D-U-ASYM-8030-800-4N7E-AP
| 2) | Aluminum |  | Lumec (Urban Townguide Classic T Post Top) | PBDP103-50W64LED3K-MP-PC-C-LE3-UNV-DMG-HS-RCD7-MGY
| 3) | Aluminum |  | Lumec (Urban Townguide Classic T Post Top) (Parking lot lighting) | PBDP103-75W96LED3K-MP-PC-C-LE5-UNV-DMG-HS-RCD7-MGY
Street Light Service Contactor Cabinet T21-15A
| NUMBER OPTION | INSTALLATION | MATERIAL | MANUFACTURER/ DESCRIPTION | PART NO.
| 1) | Bolt Down | Aluminum | TESCO PADMOUNT TYPE NEMA 3R ANODIED ALUMINUM METERED SERVICE ENCLOSURE 27-000 120/240 VOLT 1 PHASE 3 WIRE | TESCO 27-000 PER COV DRAWING T21-15B